## ELISA-計算
STEP 1 | Enter the STANDARD concentrations in the blue column below [std] replacing existing
numbers. Use a small number like 0.001 for the zero STD (for the semi-log plot)
STEP 2 | Enter the corresponding STANDARD readings in the yellow column (DATA)
STEP 3 | Change PARAMETERS (a, b, c, d) one by one in the peach boxes until the blue curve
| fits the STANDARDS data (yellow squares) |  |  |  |  | a = 17.99757
|  | PARAMETERS |  | 48.1945 | ← Sum(x-y)^2 try to minimize this value | b = 1.04418
|  | (max) a | 17.9976 |  |  | c = 944.70853
|  | (slope) b | 1.0442 |  | y=((a-d)/(1+(x/c)^b))+d | d = 123.34440
|  | (IC50) c | 944.7085
|  | (min) d | 123.3444
STANDARDS
[std]pg/mL | DATA | FIT
100 | 29.5154 | 27.2123 |  |  |  | 29.5154 | 0.461
200 | 30.837 | 35.3847 |  |  |  | 30.837 | 0.37
400 | 50.2203 | 48.5049 |  |  |  | 50.2203 | 0.312
800 | 68.7225 | 66.1101 |  |  |  | 68.7225 | 0.228
1600 | 81.4978 | 84.8057 |  |  |  | 81.4978 | 0.14
3200 | 101.5419 | 100.3171 |  |  |  | 101.5419 | 0.134
x=c*((y-a)/(d-y))^(1/b)
STEP 4 | Enter your unknown readings below in the green column
RESULTS | Your results will appear in the white column next to the readings
UNKNOWNS |  | Calculated
Samples | Readings | conc. | CURVE FITTING SUGGESTIONS
sample 1 | 0.55 | #NUM! | To obtain a close to perfect fit do the following:
sample 2 | 0.05 | #NUM! | 1 - Adjust the max and min parameters to the expected
sample 3 | 0.13 | #NUM! | assymptotic values. The initial values should be close
sample 4 | 0.12 | #NUM! | unless the standard curve is "too linear" . If so, parameter
sample 5 | 0.05 | #NUM! | "a" will be higher and b will be lower than the initial values.
sample 6 | 0.09 | #NUM! | 2 - Adjust the slope until the red curve is parallel to the data
sample 7 | 0.54 | #NUM! | 3 - Adjust the IC50 to move the curve left or right until
sample 8 | 0 | #NUM! | it is on top of the data.
sample 9 | 0 | #NUM! | 4 - Iterate the above steps if necessary.
sample 10 | 0 | #NUM!
sample 11 | 0 | #NUM! | CALCULATION ERRORS:
sample 12 | 0 | #NUM! | When calculating sample concentrations if y = d or y > a
sample 13 | 0 | #NUM! | or y < d, the reading is out of range and the calculation
sample 14 | 0 | #NUM! | will yield an error or a meaningless negative concentration
sample 15 | 0 | #NUM!
sample 16 | 0 | #NUM! | Note that the fit red curve is not exactly a plot
sample 17 | 0 | #NUM! | because Excel does not plot functions but only
sample 18 | 0 | #NUM! | a smooth line between discrete points. But, this
sample 19 | 0 | #NUM! | does not matter because sample concentrations
sample 20 | 0 | #NUM! | will be calculated using the same parameters
sample 21 | 0 | #NUM! | that would have been produced if we had
sample 22 | 0 | #NUM! | used a real plotting program
sample 23 | 0 | #NUM!
sample 24 | 0 | #NUM!
sample 25 | 0 | #NUM!
sample 26 | 0 | #NUM!
sample 27 | 0 | #NUM!
sample 28 | 0 | #NUM!
sample 29 | 0 | #NUM!
sample 30 | 0 | #NUM!
sample 31 | 0 | #NUM!
sample 32 | 0 | #NUM!
sample 33 | 0 | #NUM!
sample 34 | 0 | #NUM!
sample 35 | 0 | #NUM!
sample 36 | 0 | #NUM!
sample 37 | 0 | #NUM!
sample 38 | 0 | #NUM!
sample 39 | 0 | #NUM!
sample 40 | 0 | #NUM!
sample 41 | 0 | #NUM!
sample 42 | 0 | #NUM!
sample 43 | 0 | #NUM!
sample 44 | 0 | #NUM!
sample 45 | 0 | #NUM!
sample 46 | 0 | #NUM!
sample 47 | 0 | #NUM!
sample 48 | 0 | #NUM!
sample 49 | 0 | #NUM!
sample 50 | 0 | #NUM!
sample 51 | 0 | #NUM!
sample 52 | 0 | #NUM!
sample 53 | 0 | #NUM!
sample 54 | 0 | #NUM!
sample 55 | 0 | #NUM!
sample 56 | 0 | #NUM!
sample 57 | 0 | #NUM!
sample 58 | 0 | #NUM!
sample 59 | 0 | #NUM!
sample 60 | 0 | #NUM!
sample 61 | 0 | #NUM!
sample 62 | 0 | #NUM!
sample 63 | 0 | #NUM!
sample 64 | 0 | #NUM!
sample 65 | 0 | #NUM!
sample 66 | 0 | #NUM!
sample 67 | 0 | #NUM!
sample 68 | 0 | #NUM!
sample 69 | 0 | #NUM!
sample 70 | 0 | #NUM!
sample 71 | 0 | #NUM!
sample 72 | 0 | #NUM!
sample 73 | 0 | #NUM!
sample 74 | 0 | #NUM!
sample 75 | 0 | #NUM!
sample 76 | 0 | #NUM!
sample 77 | 0 | #NUM!
sample 78 | 0 | #NUM!
sample 79 | 0 | #NUM!
sample 80 | 0 | #NUM!
sample 81 | 0 | #NUM!
sample 82 | 0 | #NUM!
sample 83 | 0 | #NUM!
sample 84 | 0 | #NUM!
sample 85 | 0 | #NUM!
sample 86 | 0 | #NUM!
sample 87 | 0 | #NUM!
sample 88 | 0 | #NUM!
sample 89 | 0 | #NUM!
sample 90 | 0 | #NUM!
sample 91 | 0 | #NUM!
sample 92 | 0 | #NUM!
sample 93 | 0 | #NUM!
sample 94 | 0 | #NUM!
sample 95 | 0 | #NUM!
sample 96 | 0 | #NUM!
sample 97 | 0 | #NUM!
sample 98 | 0 | #NUM!
sample 99 | 0 | #NUM!
sample 100 | 0 | #NUM!

## ELISA-計算 (2)
STEP 1 | Enter the STANDARD concentrations in the blue column below [std] replacing existing
numbers. Use a small number like 0.001 for the zero STD (for the semi-log plot)
STEP 2 | Enter the corresponding STANDARD readings in the yellow column (DATA)
STEP 3 | Change PARAMETERS (a, b, c, d) one by one in the peach boxes until the blue curve |  |  |  |  | パラメータ
| fits the STANDARDS data (yellow squares) |  |  |  |  | a = 0.55998
|  | PARAMETERS |  | 0.00099336 | ← Sum(x-y)^2 try to minimize this value | b = 1.04419
|  | (max) a | 0.55998 |  |  | c = 338.73334
|  | (slope) b | 1.0442 |  | y=((a-d)/(1+(x/c)^b))+d | d = 0.081711
|  | (IC50) c | 338.7333
|  | (min) d | 0.081711
STANDARDS
[std]pg/mL | DATA | FIT
100 | 0.461 | 0.45544
200 | 0.37 | 0.38502
400 | 0.312 | 0.30014
800 | 0.228 | 0.22021
1600 | 0.14 | 0.16065
3200 | 0.134 | 0.12354
x=c*((y-a)/(d-y))^(1/b)
STEP 4 | Enter your unknown readings below in the green column
RESULTS | Your results will appear in the white column next to the readings
UNKNOWNS |  | Calculated
Samples | Readings | conc. | CURVE FITTING SUGGESTIONS
sample 1 | 0.105 | 5835.407 | To obtain a close to perfect fit do the following:
sample 2 | 0.155 | 1741.1439 | 1 - Adjust the max and min parameters to the expected
sample 3 | 0.23 | 728.6779 | assymptotic values. The initial values should be close
sample 4 | 0.127 | 2943.3334 | unless the standard curve is "too linear" . If so, parameter
sample 5 | 0.169 | 1423.9491 | "a" will be higher and b will be lower than the initial values.
sample 6 | 0.305 | 384.6427 | 2 - Adjust the slope until the red curve is parallel to the data
sample 7 | 0.314 | 357.8298 | 3 - Adjust the IC50 to move the curve left or right until
sample 8 | 0.089 | 18347.6021 | it is on top of the data.
sample 9 |  | #NUM! | 4 - Iterate the above steps if necessary.
sample 10 | 0 | #NUM!
sample 11 | 0 | #NUM! | CALCULATION ERRORS:
sample 12 | 0 | #NUM! | When calculating sample concentrations if y = d or y > a
sample 13 | 0 | #NUM! | or y < d, the reading is out of range and the calculation
sample 14 | 0 | #NUM! | will yield an error or a meaningless negative concentration
sample 15 | 0 | #NUM!
sample 16 | 0 | #NUM! | Note that the fit red curve is not exactly a plot
sample 17 | 0 | #NUM! | because Excel does not plot functions but only
sample 18 | 0 | #NUM! | a smooth line between discrete points. But, this
sample 19 | 0 | #NUM! | does not matter because sample concentrations
sample 20 | 0 | #NUM! | will be calculated using the same parameters
sample 21 | 0 | #NUM! | that would have been produced if we had
sample 22 | 0 | #NUM! | used a real plotting program
sample 23 | 0 | #NUM!
sample 24 | 0 | #NUM!
sample 25 | 0 | #NUM!
sample 26 | 0 | #NUM!
sample 27 | 0 | #NUM!
sample 28 | 0 | #NUM!
sample 29 | 0 | #NUM!
sample 30 | 0 | #NUM!
sample 31 | 0 | #NUM!
sample 32 | 0 | #NUM!
sample 33 | 0 | #NUM!
sample 34 | 0 | #NUM!
sample 35 | 0 | #NUM!
sample 36 | 0 | #NUM!
sample 37 | 0 | #NUM!
sample 38 | 0 | #NUM!
sample 39 | 0 | #NUM!
sample 40 | 0 | #NUM!
sample 41 | 0 | #NUM!
sample 42 | 0 | #NUM!
sample 43 | 0 | #NUM!
sample 44 | 0 | #NUM!
sample 45 | 0 | #NUM!
sample 46 | 0 | #NUM!
sample 47 | 0 | #NUM!
sample 48 | 0 | #NUM!
sample 49 | 0 | #NUM!
sample 50 | 0 | #NUM!
sample 51 | 0 | #NUM!
sample 52 | 0 | #NUM!
sample 53 | 0 | #NUM!
sample 54 | 0 | #NUM!
sample 55 | 0 | #NUM!
sample 56 | 0 | #NUM!
sample 57 | 0 | #NUM!
sample 58 | 0 | #NUM!
sample 59 | 0 | #NUM!
sample 60 | 0 | #NUM!
sample 61 | 0 | #NUM!
sample 62 | 0 | #NUM!
sample 63 | 0 | #NUM!
sample 64 | 0 | #NUM!
sample 65 | 0 | #NUM!
sample 66 | 0 | #NUM!
sample 67 | 0 | #NUM!
sample 68 | 0 | #NUM!
sample 69 | 0 | #NUM!
sample 70 | 0 | #NUM!
sample 71 | 0 | #NUM!
sample 72 | 0 | #NUM!
sample 73 | 0 | #NUM!
sample 74 | 0 | #NUM!
sample 75 | 0 | #NUM!
sample 76 | 0 | #NUM!
sample 77 | 0 | #NUM!
sample 78 | 0 | #NUM!
sample 79 | 0 | #NUM!
sample 80 | 0 | #NUM!
sample 81 | 0 | #NUM!
sample 82 | 0 | #NUM!
sample 83 | 0 | #NUM!
sample 84 | 0 | #NUM!
sample 85 | 0 | #NUM!
sample 86 | 0 | #NUM!
sample 87 | 0 | #NUM!
sample 88 | 0 | #NUM!
sample 89 | 0 | #NUM!
sample 90 | 0 | #NUM!
sample 91 | 0 | #NUM!
sample 92 | 0 | #NUM!
sample 93 | 0 | #NUM!
sample 94 | 0 | #NUM!
sample 95 | 0 | #NUM!
sample 96 | 0 | #NUM!
sample 97 | 0 | #NUM!
sample 98 | 0 | #NUM!
sample 99 | 0 | #NUM!
sample 100 | 0 | #NUM!